## Slide 1: Observation of the hydrogen dispersion by using Raman Scattering measurement and increase of measurable distance
Y.Segawa, M.Inoue, A.Nakamoto, S.Umehara
Department of Natural Resource Engineering
Kyushu University
Sep 12,2017

## Slide 2: ≪Agenda≫
Principle of measurement
Raman sensor equipment
Experiments
Development of sensor
Conclusions
Background and purpose of the research

## Slide 3: ≪Agenda≫
✅
Raman sensor equipment
Experiments
Development of sensor
Conclusions
Background and purpose of the research
Principle of measurement

## Slide 4
The problem of conventional Hydrogen sensors
≪Background and purpose of the research≫
It can measure hydrogen from remote distance based on the optical principle(can be measured over glass)
Almost no delay to detect hydrogen
Some delay will occur
A new Raman sensor was developed
Installed placement is important
Calibration is necessary to know
the actual H₂ arrival time
They must be in contact

## Slide 5: ≪Agenda≫
✅
✅
Principle of measurement
Raman sensor equipment
Experiments
Development of sensor
Conclusions
Background and purpose of the research

## Slide 6: ≪principle of measurement≫
Raman scattering・・・
The scattering has shifted wavelength from original light
Rayleigh scattering
Mie scattering
Raman scattering
①The amount of wavelength shift depend on the type of gas
②The strength of scattering is proportion to the gas concentration
Laser
Gas
Types of scattering
Same wavelength
scattering
scattering

## Slide 7: ≪Agenda≫
✅
✅
✅
Principle of measurement
Raman sensor equipment
Experiments
Development of sensor
Conclusions
Background and purpose of the research

## Slide 8: ≪Measuring equipment≫
Laser
Mirror
Target Gas
Lens
Light receiving device
PMT
(Photomultiplier Tube)

## Slide 9
Light receiving device
Pinhole : To cut the sun light
Collimator lens: To make the light parallel
Edge filter: To cut the light under the laser wavelength
Gas filter: To penetrate the light only the Raman wavelength
PMT: To increase the light strength over times and change to the electric signal

## Slide 10
RS(gas): Raman scattering signal strength of the target gas
RS(gas=0): Target gas’s Raman scattering signal strength (in case of 0%)
RS(N2=78): Raman scattering signal strength of nitrogen
RS(N2=0): N₂‘s Raman scattering signal strength (in case of 0%)
σ⁄σN2: Raman scattering cross section of the target gas for N₂
Using 355nm laser
Gas | Raman wave length(nm) | σ/σN2(Signal strength ratio)
CO2(2v2) | 371.7 | 1.1
CO2(v1) | 373.1 | 1.5
O2 | 375.4 | 1.6
CO | 383.9 | 1.3
N2 | 386.7 | 1
H2S | 390.9 | 6.8
CH4 | 395.6 | 11.5
CH4(v3) | 397.3 | 5
NH3 | 402.3 | 3.9
H2O | 407.5 | 2.8
H2 | 416.1 | 3.1

## Slide 11: ≪Agenda≫
✅
✅
✅
✅
Principle of measurement
Raman sensor equipment
Experiments
Development of sensor
Conclusions
Background and purpose of the research

## Slide 12: ≪Experiments≫
The purpose
To understand hydrogen behavior in narrow space
To confirm the difference by changing the supply flow rate
Details
Raman sensor
Hydrogen is supplied to the box of 30 cm × 30 cm × 30 cm (27L) for 2 seconds at 40 L/min (total 1.3L )
As supply nozzle, 1＆6 mm diameter nozzles were used

## Slide 13
≪H₂ measurement≫
The container for experiment
Φ=6mm
&
1mm
40L/min 2sec
Nozzle size | Initial velocity
6mm | 23.5m/sec
1mm | 849m/sec
※Calculated value
Front
back
Quartz glass：
To suppress the reflection of the laser
Acrylic plate:
To pass Raman scattering from gas
hole
seal

## Slide 14
Time(s)
Concentration(％)
H₂40L/min
2 sec
supply
≪Using 1mm nozzle≫
：H₂supply start
(1sec)
：H₂supply stop
(3sec)
1st experiment
2nd experiment
Fig.1 H₂ dispersion by 1mm nozzle
①
②
③
④
⑤
⑥
⑦
⑧
⑨

## Slide 15
H₂ supply nozzle
Hydrogen behavior estimation when using 1 mm nozzle

## Slide 16
H₂40L/min
2 sec
supply
≪Using 1mm nozzle≫
：H₂supply start
(1sec)
：H₂supply stop
(3sec)
1st experiment
2nd experiment
Fig.1 H₂ dispersion by 1mm nozzle
①
②
③
④
⑤
⑥
⑦
⑧
⑨
Time(s)
Concentration(％)

## Slide 17
H₂40L/min
2 sec
supply
≪Using 6mm nozzle≫
：H₂supply start
(1sec)
：H₂supply stop
(3sec)
1st experiment
2nd experiment
Fig.2 H₂ dispersion by 6mm nozzle
①
②
③
④
⑤
⑥
⑦
⑧
⑨
Time(s)
Concentration(％)

## Slide 18
Hydrogen behavior estimation when using 6 mm nozzle
①
H₂ supply nozzle

## Slide 19
H₂40L/min
2 sec
supply
≪Using 6mm nozzle≫
：H₂supply start
(1sec)
：H₂supply stop
(3sec)
1st experiment
2nd experiment
Fig.2 H₂ dispersion by 6mm nozzle
①
②
③
④
⑤
⑥
⑦
⑧
⑨
Time(s)
Concentration(％)

## Slide 20
Hydrogen behavior estimation when using 6 mm nozzle
①
②
H₂ supply nozzle
③

## Slide 21
H₂40L/min
2 sec
supply
≪Using 6mm nozzle≫
：H₂supply start
(1sec)
：H₂supply stop
(3sec)
1st experiment
2nd experiment
Fig.2 H₂ dispersion by 6mm nozzle
①
②
③
④
⑤
⑥
⑦
⑧
⑨
Time(s)
Concentration(％)

## Slide 22
Hydrogen behavior estimation when using 6 mm nozzle
①
②
④
⑤
H₂ supply nozzle
③

## Slide 23
H₂40L/min
2 sec
supply
≪Using 6mm nozzle≫
：H₂supply start
(1sec)
：H₂supply stop
(3sec)
1st experiment
2nd experiment
Fig.2 H₂ dispersion by 6mm nozzle
①
②
③
④
⑤
⑥
⑦
⑧
⑨
Time(s)
Concentration(％)

## Slide 24
Verification of Initial Hydrogen Diffusion
by Hydrogen Visualization Sheet
Hydrogen Visualization Sheet
Target gas | Only hydrogen
Response time | Less than 3sec(100％H2 50ml/min 0.1MPa)
durability | 10 times
size | 140mm×130mm
These sheets set as Fig.3 for the nozzle
Since there was no difference transparent area size due to the hydrogen supply time, hydrogen supply for 4 seconds are shown next slide
It becomes transparent when hydrogen is detected
(by Atumitec Co.)
Fig.3 H₂ visualization sheets installment

## Slide 25
≪Using 1mm nozzle≫
≪Using 6mm nozzle≫

## Slide 26: ≪Agenda≫
✅
✅
✅
✅
✅
Principle of measurement
Raman sensor equipment
Experiments
Development of sensor
Conclusions
Background and purpose of the research

## Slide 27
≪Development of sensor≫
The previous sensor’s measurable distance is 3 to 4 m
The new sensor was developed by improving a lens size 15cm to 30 cm diameter that can detect hydrogen from a long distance
Fig.5 New sensor
Fig.4 previous sensor

## Slide 28
Fig.6 The N₂ signal strength when the measurement distance changes
As the distance increases, the obtained signal becomes smaller
N₂ signal can be detected even at the 7.5 m point with the new sensor
In order to check the ability of new device, the environment like Fig.7 was made, and compared with the value of conventional hydrogen sensor
Fig.7 experimental environment
H₂ supply 0,2,3L/min, and changed the measurement distance 4,6,7.5m

## Slide 29
The measurement maximum value by the conventional sensor and the hydrogen signal intensity change by the Raman sensor are shown
Fig.8 Supply installation at 4 m
Fig.9 Supply installation at 6 m
Fig.10 Supply installation at 7.5 m
H₂ signal can be detected at 7.5 m point, but since the signal becomes smaller as the distance becomes longer, H₂ can be qualitatively detected but quantitative measurement becomes difficult

## Slide 30: ≪Agenda≫
✅
✅
✅
✅
✅
✅
Principle of measurement
Raman sensor equipment
Experiments
Development of sensor
Conclusions
Background and purpose of the research

## Slide 31: ≪Conclusion≫
We were able to ensure the behavior of the hydrogen gas in the small space by Raman sensor
Improvement of the lens size improved the measurable distance
It becomes possible to simultaneously measure not only H₂ but various kinds of gases including O₂ by Raman scattered light measurement
It will be possible to know hydrogen concentration promptly from long distance by using this technology
In the future…

## Slide 32: THANK YOU

## Slide 33: ≪PMT(Photomultiplier Tube)≫
It can convert light into electric energy from over times by using photoelectric effect
PMT
Raman
Scattering
Dynode
Photoelectron

## Slide 35: The laser specification
波長 |  | 355nm
運転モード |  | パルスレーザー
繰り返し周波数 |  | 1-100Hz
パルスエネルギー |  | ＞70μJ
出力 |  | ＞70kW
パルス幅 |  | ≒1ns
空間モード |  | TEM00
偏光比 |  | ＞100:1,垂直
出力安定性 |  | ＜±3%
レーザークラス |  | 3B/Ⅲb
消費電力 |  | ＜70W
使用周囲温度 |  | 18℃～38℃
寸法、質量 | レーザーヘッド | 89(W)×44.7(H)×274(D)、1.5kg
 | 本体 | 130(W)×105(H)×166(D)、1.5kg